Addendum #2

RFP# 5493 Video Surveillance

- Will the University be supplying power to the poles at the tennis courts/softball fields? Yes, the University will provide power at the pole, please provide requirements within the proposal.

- What type raceway is acceptable in all exposed areas? We do not have a preference other than it need to meet current industry specifications in proper mounting to walls and ceilings.

- Is there an extra pair of single mode fiber at all IDF/MDF that leads back to the server room? Yes, Will provide a network drawing By Tuesday morning 11/16/2021

- Is a wireless bridge acceptable to remote areas? Yes, the bidder is responsible for providing connectivity back to a building/data closet and in cases where you are extending a connection for example a light pole to a building (managed) wireless bridges are acceptable and make and model is up to the discretion of the bidder and does not require to be a Cisco based product.

- What is the minimum number of cameras to be viewed at one time in the command center? We have not set a minimum number of cameras to view at the command center, would like to accommodate as many monitors as possible for the room. We are looking to have a workstation that events can be pushed to without having to scroll through a larger number of cameras.