Addendum #4

RFP#5493 Video Surveillance

Questions/changes to consider for the Video Surveillance project

What materials are the ceilings made of? Most ceilings are drop ceilings and within the dorms we have sheetrock from wall to ceiling and most connections are surface mounted.

Will all storage be centralized to one location? Yes, DVR storage will be in the Walter Washington Data Center

There shall be no wires exposed in any locations where cameras to be installed. Conduit and/or Panduit are to be used.

Please identify the location of all data closets. See attached document with camera and closet locations.

It is vendor’s choice as to the type and number of cameras to be used at Welcome Center 2 as well as Natchez Welcome Center.