Addendum #2

RFP# 5493 Video Surveillance

1. Will the University be supplying power to the poles at the tennis courts/softball fields? Yes, the University will provide power at the pole, please provide requirements within the proposal.
2. What type raceway is acceptable in all exposed areas? We do not have a preference other than it need to meet current industry specifications in proper mounting to walls and ceilings.
3. Is there an extra pair of single mode fiber at all IDF/MDF that leads back to the server room? Yes, Will provide a network drawing By Tuesday morning 11/16/2021
4. Is a wireless bridge acceptable to remote areas? Yes, the bidder is responsible for providing connectivity back to a building/data closet and in cases where you are extending a connection for example a light pole to a building (managed) wireless bridges are acceptable and make and model is up to the discretion of the bidder and does not require to be a Cisco based product.
5. What is the minimum number of cameras to be viewed at one time in the command center? We have not set a minimum number of cameras to view at the command center, would like to accommodate as many monitors as possible for the room. We are looking to have a workstation that events can be pushed to without having to scroll through a larger number of cameras.